{"text_format":"3","workbook":"xls","n_sheets":3,"sheets":["Sheet1","Sheet2","Sheet3"],"not_rendered":{"external_links":1,"defined_names":1},"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"Sheet1","index":0,"n_rows":114,"n_cols":11,"rows_kept":114,"merged":[[0,0,0,10],[1,0,2,0],[1,1,2,1],[1,2,2,2],[1,3,2,3],[1,4,2,4],[1,5,1,6],[1,7,2,7],[1,8,2,8],[1,9,2,9],[1,10,2,10],[3,0,22,0],[3,1,22,1],[3,8,22,8],[3,9,22,9],[3,10,22,10],[23,0,26,0],[23,1,26,1],[23,8,26,8],[23,9,26,9],[23,10,26,10],[27,0,32,0],[27,1,32,1],[27,8,32,8],[27,9,32,9],[27,10,32,10],[34,0,39,0],[34,1,39,1],[34,5,39,5],[34,6,39,6],[34,8,39,8],[34,9,39,9],[34,10,39,10],[45,0,51,0],[45,1,51,1],[45,8,51,8],[45,9,51,9],[45,10,51,10],[47,2,48,2],[50,2,51,2],[53,0,55,0],[53,1,55,1],[53,8,55,8],[53,9,55,9],[53,10,55,10],[56,0,57,0],[56,1,57,1],[56,8,57,8],[56,9,57,9],[56,10,57,10],[58,0,60,0],[58,1,60,1],[59,8,60,8],[59,10,60,10],[64,0,66,0],[64,1,66,1],[64,2,66,2],[64,9,66,9],[64,10,66,10],[68,0,72,0],[68,1,72,1],[68,8,72,8],[68,9,72,9],[68,10,72,10],[69,5,70,5],[69,6,70,6],[73,0,81,0],[73,1,81,1],[73,8,81,8],[73,9,81,9],[73,10,81,10],[83,0,84,0],[83,1,84,1],[83,2,84,2],[83,8,84,8],[83,9,84,9],[83,10,84,10],[86,0,92,0],[86,1,92,1],[86,9,92,9],[86,10,92,10],[95,0,96,0],[95,1,96,1],[95,9,96,9],[95,10,96,10],[97,0,99,0],[97,1,99,1],[97,9,99,9],[97,10,99,10],[101,3,112,3],[101,4,112,4],[101,10,112,10],[113,0,113,8]],"flags":["formulas_cached_only"]}
["附件2：渝地康田物业清掏服务信息一览表"]
["序号","项目名称","安装位置","类型类别","数量（个）","容积",null,"清掏频率（次/年）","备注","项目地址","项目联系人"]
[{"$nulls":5},"数量","单位"]
[1,"洋河花园","美居园1幢","化粪池(4号)",1,9,"M3",4,null,"重庆市\n江北区\n洋河花\n园73号","谢主任\n15310828529"]
[null,null,"美居园2幢","化粪池(5号)",1,12,"M3",4]
[null,null,"美居园3、4幢","化粪池(6号)",2,32,"M3",4]
[null,null,"美居园5幢","化粪池(6号)",2,32,"M3",4]
[null,null,"景乐园1幢","化粪池(6号)",2,32,"M3",4]
[null,null,"景乐园2幢","化粪池(5号)",1,12,"M3",4]
[null,null,"景乐园3幢","化粪池(6号)",1,16,"M3",4]
[null,null,"富乐园1幢","化粪池(7号)",1,20,"M3",4]
[null,null,"富乐园2幢","化粪池(7号)",1,20,"M3",4]
[null,null,"富乐园3幢","化粪池(6号)",1,16,"M3",4]
[null,null,"富乐园4幢","化粪池(5号)",1,12,"M3",4]
[null,null,"富乐园5幢","化粪池(5号)",1,12,"M3",4]
[null,null,"贵安园1、2幢","化粪池(6号)",1,16,"M3",4]
[null,null,"贵安园3幢","化粪池(5号)",1,12,"M3",4]
[null,null,"贵安园4、5幢","化粪池(5号)",1,12,"M3",4]
[null,null,"贵安园6幢","化粪池(5号)",1,12,"M3",4]
[null,null,"贵安园7幢","化粪池(7号)",1,20,"M3",4]
[null,null,"逸景楼","生化池",1,82,"M3",4]
[null,null,"幼儿园","化粪池(6号)",1,16,"M3",4]
[null,null,"保安宿舍","化粪池(5号)",1,12,"M3",4]
[2,"洋河南滨花园","洋河南滨3幢","生化池",1,330,"M3",4,null,"重庆市\n南岸区\n宏声路\n37号","陈主任\n13983364258"]
[null,null,"洋河南滨5幢","生化池",1,330,"M3",4]
[null,null,"洋河南滨9幢","生化池",1,800,"M3",4]
[null,null,"洋河南滨10幢","生化池",1,280,"M3",4]
[3,"盘龙花园","盘龙花园B1区","生化池",1,780,"M3",4,null,"重庆市\n南岸区\n鸡冠石\n镇蟠龙\n山18号","秦主任\n18502338025"]
[null,null,"盘龙花园B2区","生化池",1,470,"M3",4]
[null,null,"盘龙花园C区","生化池",1,{"v":1010,"d":"1,010"},"M3",4]
[null,null,"盘龙花园A区","生化池",1,{"v":1000,"d":"1,000"},"M3",4]
[null,null,"盘龙花园A区2","生化池",1,920,"M3",4]
[null,null,"盘龙花园B1区","生化池",1,30,"M3",8]
[4,"漫香林","1栋与2栋之间","化粪池",1,700,"M3",4,null,"西永微电园西科大道16号","朱主任\n13617677400"]
[5,"天府民居","1区","化粪池",4,7335,"M3",4,null,"重庆市\n北碲区\n东阳镇\n焦家沟","谢主任\n13752976720"]
[null,null,"2区","化粪池",3,null,null,4]
[null,null,"3区","化粪池",5,null,null,4]
[null,null,"4区","化粪池",1,null,null,4]
[null,null,"5区","化粪池",1,null,null,4]
[null,null,"6区","化粪池",1,null,null,4]
[6,"羲城蓝湾","商铺外围","化粪池",1,600,"M3",4,null,"沙坪坝区大学城思贤路20号","陆主任\n13527436878"]
[7,"满堂红家苑","小区管理区域","化粪池",2,230,"M3",4,null,"江北区杨河二村3号附2号","谢主任\n15310828529"]
[8,"汇景苑","建行旁","化粪池",1,300,"M3",4,null,"九龙坡区西郊三村3号","刘主任\n13996366824"]
[9,"重啤花园","A栋","化粪池",1,500,"M3",4,null,"九龙坡区西郊三村46号"]
[10,"学田湾","学田湾正街5\n号、6号","化粪池",2,340,"M3",4,null,"渝中区学田湾正街7-11号","吴主任\n15023796651"]
[11,"盛景\n龙庭","1-4栋","化粪池",1,480,"M3",4,null,"重庆市\n南岸区\n腾黄路\n 11号","蒋主任\n15523343428"]
[null,null,"D1商铺","化粪池",1,30,"M3",4]
[null,null,"5栋","化粪池",1,250,"M3",4]
[{"$nulls":3},"隔油池",1,7,"M3",4]
[null,null,"6-7栋","化粪池",1,290,"M3",4]
[null,null,"D2栋商铺","化粪池",1,50,"M3",4]
[{"$nulls":3},"隔油池",1,7,"M3",4]
[12,"嘉和苑","车库-3楼出口","化粪池",1,200,"M3",4,null,"渝中区枣子岚垭正街 101、 103、105号","吴主任\n15023796651"]
[13,"七季城","A 区","化粪池",2,1200,"M3",4,null,"南岸区回龙路86号、88号、9 0号","蒋主任\n13996273968"]
[null,null,"B区","化粪池",1,770,"M3",4]
[null,null,"C区","化粪池",1,1290,"M3",4]
[14,"山千院","东苑","化粪池",1,2500,"M3",4,null,"南岸区南湖路68-69号","蒋主任\n1399627396\n8"]
[null,null,"西苑","化粪池",2,1260,"M3",4]
[15,"公房及资产","蔡家石堡5号","化粪池",1,150,"M3",4,null,"蔡家石堡5号","余主任\n13708367973"]
[null,null,"松桥路68号","窨井","-",12,"个",6,null,"松桥路68号"]
[null,null,"花园八村八栋","窨井","-",12,"个",6,null,"花园八村八栋"]
[16,"半岛深蓝","大黄路60号","化粪池",1,370,"M3",4,null,"渝中区大黄路60号","颜主任\n13509485749"]
[17,"大元广场","负六楼","化粪池",2,126,"M3",4,null,"渝中区中兴路85号","胡主任\n13883120797"]
[18,"涪江印象",null,"化粪池",2,2500,"M3",4,null,"合川区南津街\n街道希尔安大\n道1766 号","许主任\n18223582713"]
[19,"凯比特大厦",null,"三格式化粪池",1,400,"M3",8,null,"渝北区栖霞路3号、龙睛路 2 号","曹主任\n18584606721"]
[{"$nulls":3},"隔油池",1,50,"M3",4]
[{"$nulls":3},"隔油池",1,8,"M3",24,"每月10日前清掏"]
[20,"体育中心","体育中心","化粪池",1,25,"M3",4,null,"两江新区龙韵\n路以东湖映路","江主任\n13883922236"]
[21,"人民花园","负2楼车库","化粪池",2,73,"M3",8,null,"重庆市渝中区人和街6 7 号 、 69号","陈主任\n13032311425"]
[null,null,"电影院外围","生化池",1,225,"M3",4]
[null,null,"万和药房门口","生化池",1,null,null,4]
[null,null,"负2楼车库","沉渣池/环形沟",1,250,"米",4]
[null,null,"小区外围","堡坎边坡",1,102,"米",4]
[22,"和威\n山千\n院","一期","化粪池",1,480,"M3",4,null,"重庆市高新区含谷镇鑫源路\n13号","唐主管\n18725918424"]
[null,null,"二期","化粪池",1,840,"M3",4]
[null,null,"一期","隔油池",1,30,"M3",4]
[null,null,"一期","隔油池",1,30,"M3",4]
[null,null,"一期","隔油池",1,30,"M3",4]
[null,null,"一期","隔油池",1,30,"M3",4]
[null,null,"二期","隔油池",1,30,"M3",4]
[null,null,"二期","隔油池",1,30,"M3",4]
[null,null,"二期","隔油池",1,30,"M3",4]
[23,"联合办公大楼物业","小区管理区域","化粪池",1,150,"M3",12,null,"天宫殿街道恒\n明路1号","邹主管\n15922615907"]
[24,"和平小区","小区管理区域","窨井","-",203,"个",4,null,"南岸区鸡冠石镇鸡冠石正街\n148号","秦主任\n18502338025"]
[{"$nulls":3},"沟渠",1,1300,"米",4]
[25,"联合办公大楼食堂",null,"隔油池",1,30,"M3",4,null,"天宫殿街道恒\n明路1号","邹主管\n15922615907"]
[26,"万丰一村","1号","化粪池",1,83,"M3",4,null,"江北五里店街道","黄主管\n17783552161"]
[null,null,"3号","化粪池",1,34,"M3",4]
[null,null,"4号","化粪池",1,35,"M3",4]
[null,null,"5号","化粪池",1,55,"M3",4]
[null,null,"6号","化粪池",1,42,"M3",4]
[null,null,"7号","化粪池",1,36,"M3",4]
[null,null,"8号","化粪池",1,33,"M3",4]
[27,"龙塔华园","1号","化粪池",1,50,"M3",4,null,"天宫殿街道","杜主管\n18983238549"]
[28,"拾光集","1号","生化池",1,468,"M3",4,null,"人和街道","蒋经理\n15923388993"]
[29,"湖宁停车楼","1号","生化池",1,36,"M3",4,null,"两江新区","马主管\n18580791640"]
[{"$nulls":3},"污水井","-",17,"个",8]
[30,"沧白路","1号","生化池",1,135,"M3",4,null,"渝中区沧白路","王主任\n13608383060"]
[null,null,"2号","生化池",1,50,"M3",4]
[{"$nulls":3},"隔油池",1,15,"M3",2]
[31,"栖棠观樾",null,"格栅池",2,12,"M3",8,null,"大渡口区","吴主管\n15123141648"]
[32,"凯旋国际",5,"化粪池、隔油池、集水井等","/",429,"M3",1,null,"两江新区","18202323078（肖老师）"]
[33,"企业港",1,null,null,375,"M3",1,null,"高新区"]
[34,"康田漫城",2,null,null,2200,"M3",1,null,"高新区"]
[35,"康田紫悦府",5,null,null,1147,"M3",1,null,"高新区"]
[36,"康田西锦",1,null,null,1576,"M3",1,null,"渝北区"]
[37,"康田蔚蓝海",6,null,null,1628,"M3",1,null,"两江新区"]
[38,"康桥融府",3,null,null,3350,"M3",1,null,"两江新区"]
[39,"麓城",4,null,null,1127,"M3",1,null,"南岸区"]
[40,"宸樾",1,null,null,500,"M3",1,null,"两江新区"]
[41,"公住房公司",2,null,null,9,"M3",2,null,"渝北区"]
[42,"星峰楼",1,null,null,36,"M3",1,null,"渝北区"]
[43,"星樾",1,null,null,5,"M3",2,null,"两江新区"]
["说明：\n     1、合同期内主管道、管井堵塞无偿进行清掏和疏通。\n     2、凯比特大厦主排污管道疏通：140m,半年分别用高压疏通机疏通1次。\n     3、联合办公大楼化粪池只能用吸粪车处理，不能人工清掏。"]

{"sheet":"Sheet2","index":1,"n_rows":0,"n_cols":0,"rows_kept":0,"flags":["formulas_cached_only"]}

{"sheet":"Sheet3","index":2,"n_rows":0,"n_cols":0,"rows_kept":0,"flags":["formulas_cached_only"]}